## Slide 1: NEW ECOLINE R407F Applications
BITZER Webinar
11th June 2013

## Slide 2: WEBINAR CONTENTS

## Slide 3: WEBINAR CONTENTS
  PART 1
    Introduction to EU current situation and R407F physical properties
    Application Limits
    Controlled Liquid Injection (CIC)
  PART 2: Supermarket Applications
    R407F as substitute for R404A
    R134a/CO2 Hybrid Systems
  PART 3: Competitor Analysis
    Copeland Stream
    Copeland ScrollTM
    GEA BOCK: HG / HA
  FINAL DISCUSSION

## Slide 4: PART 1

## Slide 5: INTRODUCTION

## Slide 6: GENERAL INFORMATION
  Genetron® PerformaxTM LT (Honeywell)
  ASHRAE Refrigerant Designation: R407F
  Currently, substitute refrigerant also for R404A in EU

## Slide 7: INTRODUCTION
Applications with reciprocating compressors on R407F
  Since beginning 2012
    Compressor calculations on R407F with .2 Generation
    Department of Application Engineering on request
  NEW ECOLINE
    Performance data with R407F included in the BITZER software as standard

## Slide 8: CURRENT SITUATION IN THE EU
  Proposal for a Regulation of the European Parliament and of the Council on fluorinated greenhouse gases (7th November 2012)
  HFC of very high GWP (>2500) will not be permitted from 2020 onwards
  It affects recharging of existing refrigeration equipment
  For systems with a charge size over 5 tonnes of CO2 equivalent

## Slide 9: PHYSICAL PROPERTIES
 | R22 | R404A | R507A | R407A | R407F
Dew point temp. [1 bar(a)] | -41°C | -46°C | -47°C | -39°C | -40°C
Temperature glide [1 bar(a)] | 0 K | 0,7 K | 0 K | 6,6 K | 6,4 K
Discharge gas temperature MT cond.* | 101°C | 78°C | 77°C | 88°C | 94°C
Discharge gas temperature LT cond.** | 143°C | 102°C | 101°C | 120°C | 129°C
GWP (100 a) IPCC III (2001) [CO2 = 1,0] | 1700 | 3780 | 3850 | 1990 | 1705
* to = -10°C; tc = 45°C; toh = 20°C (isentropic)
** to = -35°C; tc = 40°C; toh = 20°C (isentropic)

## Slide 10: INTRODUCTION

## Slide 11: APPLICATION LIMITS

## Slide 12: APPLICATION LIMITS
R407F Application Limits with BITZER New ECOLINE
  CE1 to CE3

## Slide 13: APPLICATION LIMITS
R407F Application Limits with BITZER New ECOLINE
  CE4 to BE6

## Slide 14: APPLICATION LIMITS
R407F Application Limits with BITZER New ECOLINE
  CE4 to BE6 with CIC system

## Slide 15: APPLICATION LIMITS
R407F Application Limits with GEA BOCK
  HG series with large motor (MT applications)

## Slide 16: APPLICATION LIMITS
R407F Application Limits with GEA BOCK
  HG series with small motor (MT applications)

## Slide 17: APPLICATION LIMITS
R407F Application Limits with GEA BOCK
  HA series (LT applications)

## Slide 18: APPLICATION LIMITS
R407F Application Limits with GEA BOCK
  HA series (LT applications)
  Some limitations in some compressor types

## Slide 19: APPLICATION LIMITS
R407F Application Limits with Copeland
  Stream series with large motor (MT applications)

## Slide 20: APPLICATION LIMITS
R407F Application Limits with Copeland
  Stream series with small motor and liquid injection (LT applications)

## Slide 21: APPLICATION LIMITS
R407F Application Limits with Copeland
  ScrollTM series with large motor (MT applications)

## Slide 22: APPLICATION LIMITS
R407F Application Limits with Copeland
  ScrollTM series with small motor and liquid injection (LT applications)

## Slide 23: COMPARISON OF APPLICATION LIMITS

## Slide 24: COMPARISON OF APPLICATION LIMITS

## Slide 25: CIC CONTROLLED LIQUID INJECTION

## Slide 26: CIC: CONTROLLED LIQUID INJECTION
  KT-130 for further information about CIC system

## Slide 27: CIC: CONTROLLED LIQUID INJECTION
  CE4 – BE6 BITZER ECOLINE with R407F

## Slide 28: CIC: CONTROLLED LIQUID INJECTION
BITZER NEW ECOLINE
  Compressor must be equipped with CIC system for R407F LT applications
      Motor version 2 must be selected for CIC operation
      Additional cooling is required
  Performance data with CIC already available (Web Software)
  Part-load operation with CIC (motor 2 and additional cooling):
    Only at CR≥50% and to ≥ -40°C
  Frequency Inverter operation with CIC is not approved
  Box-type Condensing Unit: to ≥ -40°C and without additional fan

## Slide 29: PART 1 QUESTIONS

## Slide 30: PART 1 - QUESTIONS

## Slide 31: PART 2

## Slide 32: SUPERMARKET APPLICATIONS

## Slide 33: R407F AS SUBSTITUTE FOR R404A
  Temporary retrofit solution to comply with EU Proposal (GWP<2500 from 2020 onwards)
  Future restrictions in EU, e.g. from 2030 onwards, are unknown
  MT and LT applications
    Higher COP/EER of the compressor
    Approximately same compressor size
    Effect of temperature glide (6,4 K) on efficiency depending on the system

## Slide 34: R407F AS SUBSTITUTE FOR R404A
  High discharge gas temperature
    Needs to be considered in LT applications
  CIC system offers an additional protection for CE4 – BE6
    e.g. from high discharge gas temperatures in LT applications due pressure fluctuations in the system

## Slide 35: R407F AS SUBSTITUTE FOR R404A

## Slide 36: R134a/CO2 HYBRID SYSTEMS
  Recommended solution by BITZER
  R134a requires larger compressor size, but:
    Higher COP/EER than R407F
    Lower GWP than R407F
    Lower leakage rate than R407F

## Slide 37: R134a/CO2 HYBRID SYSTEMS
  In the EU:
    Further reductions of CO2 emissions are most likely
    Currently, no alternative to R407F with lower GWP and same cooling capacity available
  In the system:
    Temperature glide of R407F (6,4 K)
      Negative effect on system’s efficiency (cascade HX)
    Already available substitute refrigerants for R134a retrofit

## Slide 38: R134a/CO2 HYBRID SYSTEMS
  For OUR customers:
    R134a is the best choice for the high stage of the system
    R134a/CO2 is the best choice for supermarket applications

## Slide 39: PART 2 QUESTIONS

## Slide 40: PART 2 - QUESTIONS